## Test1
From Bus Number | From Bus Name | To Bus Number | To Bus Name | Id | Name | Term Node Num (From) | Term Node Name (From) | Term Node Num (To) | Term Node Name (To) | In Service | Metered | Winding 1 Side | Controlled Bus | Controlled Bus Side | Controlled Node Number | Controlled Bus Section | Tap Positions | Control Mode | Auto Adjust | Winding I/O Code | Impedance I/O Code | Admittance I/O Code | Specified R (pu or watts) | Specified X (pu) | RATE1 (MVA) | RATE2 (MVA) | RATE3 (MVA) | Magnetizing G (pu or watts) | Magnetizing B (pu) | Owner 1 | Fraction 1 | Owner 2 | Fraction 2 | Owner 3 | Fraction 3 | Owner 4 | Fraction 4 | Winding MVA Base | Wnd 1 Ratio (pu or kV) | Wnd 1 Nominal kV | Wnd 1 Angle (degrees) | Wnd 2 Ratio (pu or kV) | Wnd 2 Nominal kV | Rmax (pu, kV, deg) | Rmin (pu, kV, deg) | Vmax (pu, Mvar, MW) | Vmin (pu, Mvar, MW) | Wnd Connect Angle (deg) | Load Drop Comp R (pu) | Load Drop Comp X (pu) | Impedance table | R (table corrected pu or watts) | X (table corrected pu) | Vector Group | Edit Vector Group | Connection Code | Edit Connection Code | Leakage impedance I/O code | Grounding impedance I/O code | RG1 | XG1 | R01 (pu) | X01 (pu) | RG2 | XG2 | R02 (pu) | X02 (pu) | RNutrl | XNutrl | RATE4 (MVA) | RATE5 (MVA) | RATE6 (MVA) | RATE7 (MVA) | RATE8 (MVA) | RATE9 (MVA) | RATE10 (MVA) | RATE11 (MVA) | RATE12 (MVA)
12 | 12 345.00 | 13 | 13 345.00 | 1 | [5 empty] | 1 | 1 | 1 | 0 | 0 | 0 |  | 33 | None | 0 | Turns ratio (pu on bus base kV) | Zpu (system base) | Y pu (system base) | 0.0016 | 0.0435 | 500 | 500 | 500 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 100 | 1.006 | 0 | 0 | 1 | 0 | 1.1 | 0.9 | 1.1 | 0.9 | 0 | 0 | 0 | 0 | 0.0016 | 0.0435 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 1 | 1 | 1